Data Set — The Contaminated Lab Table

For  MUST DO Option A — Sig-Fig Data Auditor  |  Area 1: Measurement & Significant Figures  |  SC.912.N.1.1

A tired lab assistant recorded the sample masses below and typed them into this table. Every row has at least one mistake: a reading reported with too many or too few significant figures for the balance that produced it, a wrong number of digits for the instrument’s precision, or a missing estimated digit. Use the instrument list to judge how precise each reading could be, then complete the assignment by rewriting each row correctly.

| Sample | Balance used | Smallest division (precision) | Mass recorded by assistant | Student’s corrected reading | What was wrong? |
| --- | --- | --- | --- | --- | --- |
| A | Triple-beam balance | 0.1 g | 4.352 g |  |  |
| B | Analytical balance | 0.0001 g | 3.28 g |  |  |
| C | Digital top-loader (reads to centigram) | 0.01 g | 12.455 g |  |  |
| D | Triple-beam balance | 0.1 g | 17.00 g |  |  |
| E | Analytical balance | 0.0001 g | 0.04050 g |  |  |
| F | Digital top-loader (reads to centigram) | 0.01 g | 5.0 g |  |  |
| G | Balance reads to the nearest gram | 1 g | 246.5 g |  |  |
| H | Digital top-loader (reads to centigram) | 0.01 g | 88.600 g |  |  |

Notes on the balances:

•  Reading with a triple-beam or analog balance: you read every line up to the smallest division and then estimate ONE additional digit, so a 0.1-g balance should give two decimal places (e.g., xx.xx g).

•  A digital balance gives exactly as many digits as its display allows: you do NOT add an estimated digit beyond the display.

•  To report the correct number of significant figures, keep only the digits that the instrument’s precision actually supports and drop any that are not justified.