Data Set — Quality-Control Lab Records

For  MUST DO Option A — The QC Data Set Investigation  |  Area 3: Accuracy, Precision & Error Analysis

A quality-control technician used an analytical balance to measure a certified 10.000 g reference standard eight times. The accepted (true) mass is 10.000 g. Here are the raw trial readings and the two other pieces of evidence you will analyze.

Trial data — balance readings (mass of the 10.000 g standard, in grams):

| Trial | 1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 |
| --- | --- | --- | --- | --- | --- | --- | --- | --- |
| Reading (g) | 10.152 | 10.150 | 10.153 | 10.151 | 10.149 | 10.154 | 10.150 | 10.152 |

Evidence 2 — dartboard diagram (described):

Another technician drew where eight shots landed on a target whose bullseye is the true value. All eight holes are tightly clustered in a small group, but the whole cluster sits well above and to the right of the bullseye; none of the holes touches it.

Evidence 3 — scatterplot statement:

A reaction-rate experiment produced a scatterplot with R² = 0.81: the points scatter noticeably around the trendline. The experimenter claimed this means the data are inaccurate.