Honors Chemistry — Choice Board Assignment
Area 3 Option C: Equipment Report Mini-Presentation
Standards SC.912.N.1.1  •  SC.912.N.1.4  •  SC.912.N.1.6  •  Must Do — Option C  •  Covers Level 3.0 Targets: T1, T2
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The Scenario
Act as a quality-control scientist and present whether a measuring device should pass quality control. Gather trial data yourself (from the provided QC data set OR by running your own trials), then deliver a short (2–3 minute) presentation or poster making the call.
Choose your device and data:
•  The analytical balance (use the QC Data Set: 8 trials of a 10.000 g standard).
•  OR pick a device and gather your own repeated trials of a known standard.
Your report must include:
1.  Verdict — precise or not? Support with how tight the trials are.
2.  Verdict — accurate or not? Compute and quote the percent error.
3.  Error type — systematic or random, and why the pattern says so.
4.  Recommendation — pass or fail QC, with a justified reason tied to the numbers.
Turn in:  your slide deck, poster, or short video.
